| Site Address | BOCM PAULS LTD Exeter Mill, Kestrel Way, Sowton Industrial Estate, Exeter, Devon, EX2 7LN. |  |  |  |
| --- | --- | --- | --- | --- |
| Grid Reference of Site | SD 296340 92290 |  |  |  |
| Nature of Business | Manufacture of Compound Animal Feeds |  |  |  |
| Operations Manager Managers Name | David Jenkins |  |  |  |
|  | Office | Home |  | Mobile |
| Phone Numbers: | 01392 456436 |  |  | 07769671064 |
| EXTERNAL DISTRIBUTION | Copies To |  | Date Sent: |  |
| Environment Agency | Mary Rees |  | 28/01/2011 |  |
| Fire Authority | Devon and Somerset Fire and Rescue Service |  | 28/01/2011 |  |
| Police | Exeter Police Station |  | 28/01/2011 |  |
| Sewer Provider | South West Water |  | 28/01/2011 |  |
| Water Supplier | South West Water |  | 28/01/2011 |  |
| Local Authority | Exeter City Council |  | 28/01/2011 |  |

Up to date copies of electrical drawings and Drainage plans are stored in the Maintenance Supervisors Office.

CONTENTS

|  | Page |
| --- | --- |
| Emergency Contact Numbers | 2 |
| Site plan | 3/4 |
| Hazards on Site | 5 |
| Inventory of tanks and stores | 6 |
| Raw Material Type & Description | 7 |
| Emergency procedures: | 9 |
| Immediate actions | 10 |
| Secondary actions | 11/12 |
| Distribution within Company | 13 |

| EMERGENCY CONTACT DETAILS: |  |
| --- | --- |
| Local Police | 08705 777444 |
| Local Fire (Middlemoor Fire Station, Sidmouth Road, Exeter EX2 7AP) | 999 |
| Hospital (RD&E Wonford Exeter) | 01392 411611 |
| Environment Agency Hotline: Local Office (Exeter): | 0800 807060 08708 506506 |

|  | Office Hours | Out of Hours |
| --- | --- | --- |
| Electricity Supplier (Eon Energy) | 0800 365 900 | 0800 365 900 |
| Gas Supplier (Gazprom) Smell of Gas | Transco Gas Emergency Service on 0800 111999 | Transco Gas Emergency Service on 0800 111999 |
| Local Authority (Exeter City Council) | 01392 277888 | 01392 265904 |
| Maintenance Contractor (Ansell & Wakefield) | 0117 982 0802 | 07831 172997 |
| Sewage Undertaker (South West Water) | 0800 169 1144 | 0800 169 1144 |
| Water Undertaker | 0800 169 1144 | 0800 169 1144 |
| Waste Disposal Contractor (WCRS) | 01438 310082 | 07775 734483 |
| Specialist Clean-up Contractors (D&E) | 0117 951 3888 | 07850 326855 |
| Specialist Clean-up Contractors – (SPIRE BOURNE) | 01884 861000 | 07818 417317 |
| Builder (Ian Rainer) | 07792 936044 | 07792 936044 |
| DSL Systems | 0115 981 3700 | 0860 424687 |

| COMPANY CONTACTS (Out of Hours) |  |
| --- | --- |
| Operations Manager | David Jenkins 07769 671064 |
| Deputy | Richard Clapp 07803 286740 |
| Production Manager | Tim Bellamy 07775 826641 |
| Business Unit Director | Steven Read 07802 173193 |
| National Operations | David MacLachlan 07802 173163 |

An up to date list of all site personnel contact details is held on the Local drive under Health & Safety/Emergency Plan, hard copies are held by the Shift Supervisor and the administration team leader.

ACCIDENT MANAGEMENT SITE PLAN

The Accident Management Site Plan includes information of relevance for dealing with accidents that may pose a risk of environmental pollution and pin points the location of key equipment.

This includes:

- Site drainage details

- Mains water stop tap

- Fire hydrant

- Main electrical supply isolator

- Gas supply isolators

- Location of fire extinguishers

- Storage areas eg: bulk liquids, chemicals, fuel

- Spill kits (located in the Grinder Panel Room, Archive Store and on each forklift truck)

- Emergency Isolation points

- Potentially sensitive areas of porous or unmade ground

- Soakaways

HAZARDS ON SITE

Refer to COSHH Data Sheets

| HAZARD | LOCATION(S) |
| --- | --- |
| Vegetable Oils | See Site Plan Ref 1VO |
| Molasses | See Site Plan Ref 2MOL |
| Waste Oil | See Site Plan Ref 3WO |
| Water Treatment Chemicals (Boiler) | See Site Plan Ref 4WTC |
| Red Diesel | See Site Plan Ref 5RD |
| Heating Oil | See Site Plan Ref 6HO |
| Lubricating Oils and Grease | See Site Plan Ref 7LOG |
| Derv (Vehicle fuelling) | See Site Plan Ref 8DERV |
| Paint/Solvents/aerosols | See Site Plan Ref 9PSA |
| Oxygen/Acetylene Cylinders | See Site Plan Ref 10OAC |
| Mains Gas (Rising Main) | See Site Plan Ref 11MGRM |
| Power Substation | See Site Plan Ref 12 SUBSTATION |
| Adblue | See Site Plan Ref 14AB |

INVENTORY OF TANKS AND STORES

| Location | No, of Tanks or Stores | Size of Tanks | Total Storage Capacity |
| --- | --- | --- | --- |
| Main Tank Farm | 3 Molasses Tanks | 35tns capacity each | 105tns |
| Main Tank Farm | 1 Obsolete HFO Tank | 40tns capacity | 40tns |
| Main Tank Farm | 3 Vegetable Oil Tanks | 25tns capacity each | 75tns |
| Main Tank Farm | 1 Obsolete Vegetable Oil Tank | 25tns capacity | 25tns |
| Main Tank Farm | 1 Derv Tank | 45tns capacity | 45tns |
| Main Tank Farm + Rear Loading Bay | 2 Adblue IBC’s | 1000 lts IBC | 2000lts |
| Main Mill Building | 2 Vegetable Oil Day Tanks | 1tn capacity each | 2tns |
| Main Mill Building | 2 Molasses Day Tanks | 1tn capacity each | 2tns |
| Rear Roadway | 1 Red Diesel Tank | 3.5tns capacity | 3.5tns |
| Rear Of Office | 1 Heating Oil Tank | 3.5tns capacity | 3.5tns |
| Rear Loading Bay | 1 Waste Oil IBC | 1tn capacity | 1tn |
| Boiler House | Water Treatment Chemicals (Boiler) | 10 x 5Ltr containers | 50 Litres |
| Rear Loading Bay | Lubricating Oils and Grease | 10 x 205Ltr Drums | 2050 lts |
| Paint Store Main Mill Corridor | Paint/Solvents/aerosols | Various Paint + aerosols | 50 Litres |
| Rear Of Workshop + Intern of Workshop | Oxygen/Acetylene/Argonshield/LPG Cylinders | 9 Cylinders |  |
| Main Mill Building | 32 Raw Material Bins | 6 x 40tns 17 x 35tns 4 x 12tns 4 x 38 1 x 20 | 1055tns |
| Main Mill Building | 32 Finnished Product Bins | 16 x 24tns 6 x 32tns 10 x 28tns | 856tns |
| Rear Roadway | 7 Raw Material Silos | 4 x 330tns 3 x 270tns | 2130tns |

RAW MATERIALS AND THEIR DESCRIPTION

| Raw Material |  | Chemical Nature / Composition |  |
| --- | --- | --- | --- |
| Cereal grains |  | Natural product: Cereal grains |  |
| Oil seed products and by-products |  | Natural product: Oil seed products and by-products |  |
| Cereal grain products and by-products |  | Natural product: Cereal grain products and by-products |  |
| Minerals |  | Minerals (e.g. key materials being limestone and di-calcium phosphate with smaller quantities of other minerals such as sodium chloride, calcium magnesite, sodium bicarbonate ) |  |
| Products and by-products of sugar production |  | Products and by-products of sugar production such as molasses |  |
| Oil and fats |  | Natural product: Saturated and unsaturated vegetable oils |  |
| Products from the bakery and pasta industries |  | Products from the bakery and pasta industries |  |
| Products and by-products of legume seeds |  | Natural product: Products and by-products of legume seeds |  |
| Milk products |  | Milk products (e.g. whey, dried milk powder) |  |
| Zootechnical additive |  | Any additive used to affect favourably the performance of animals in good health or used to affect favourably the environment. An additive belonging to one of the following groups of additives authorised under the EC additives directives: - Antibiotics - Coccidiostats and other medicinal substances - Growth promoters |  |
| Medicated Feeding Stuff – prescription required (MFS) Medicated Feeding Stuffs – no prescription required (MFSX) |  | Medicinal feed additives approved for use in the relevant species category |  |
| Acidifiers and Antioxidants |  | Complexes of dry powder or liquid acids or aldehydes |  |
| Premixtures of Vitamins and Trace Elements |  | Mixtures of vitamins (A, D3, E, K and B group), amino acids (lysine, methionine, threonine), trace elements (iron, copper, manganese, cobalt, zinc, iodine and selenium (from sources such as oxides, sulphates, iodates and selenites) and palatability enhancers. |  |
| Non Protein Nitrogenous Compounds |  | Urea |  |
| Probiotics and Natural Extracts |  | Complexes of natural plant materials and extracts. |  |
| Enzymes |  | Complexes of dry powders or liquid phytase and carbohydrase enzymes. |  |
| Amino acid |  | DL-Methionine, L-Lysine and L-Threonine |  |
| Packaging Materials |  |  |  |
| Pallets | Wood |  |  |
| Bags (such as 20 kg bags) | Plastic or multi-ply paper bags |  |  |
| Stretch / shrink-wrap | Plastic |  |  |
| Ancillary Materials |  |  |  |
| Mineral oils, greases and lubricants | Food grade complex hydrocarbons with additives |  |  |
| Solvent cleaners | Petroleum distillates |  |  |
| Detergent cleaning chemicals | Disinfectants approved by DEFRA for the purposes of the Diseases of Animals (Approved Disinfectants) Order 1978 (as amended) specifying the dilutions at which they are respectively approved. Composition: Aqueous solutions of alcohol ethoxylate, Sodium hydroxide, tri-sodium nitrotriacetate and tetrasodium ethylene-diamine acetate. |  |  |
| Boiler water treatment chemicals | Aqueous solutions of sodium hydroxide, sodium bisulphite, sodium polyphosphate, sodium boroheptonate. |  |  |
| Ad-Blue | Aqueous urea solution (32.5 wt% ) |  |  |

EMERGENCY PROCEDURES

These are detailed as follows:

1. 	Immediate Actions

Actions to be taken by the person first at the scene. These procedures should be posted and trained into all employees.

2.	Secondary Actions – following on from the above

A detailed list of accident types with their consequences and the actions to be followed depending on the type of incident/accident.

3.	Business Recovery – Senior Management Responsibilities

The actions to be taken in the event of a major incident/accident leading to a serious disruption to business are contained in the National Business Recovery Plan held on the National Drive under:

National Operations\ Business Recovery \National Business Recovery & Emergency Plans

IMMEDIATE ACTIONS

IF YOU DISCOVER A FIRE

- Immediately operate the nearest fire alarm call-point.

- Obtain help from other members of staff nearby.

- If necessary contact emergency services

- Extinguish all naked flames without putting yourself or others at risk.

- Leave the building by the nearest exit and make your way to the assembly point.

- Inform your Manager of what you know about the fire.

IF YOU DISCOVER AN ACCIDENT

- Summon first aid.  The First Aiders are:-

| Mill | Office |
| --- | --- |
| Tim Bellamy Hylton Bullough Phil Burnard Allan Dare Milos Klein Martin Pile Rowland Giles Simcox Steve Williamson | Grant Fitzhenry Loraine Gywn Rachel Thorne Karen White |

- Summon an ambulance.

- Inform your Manager.

IF YOU DISCOVER A MAJOR SPILLAGE

- Raise the alarm for assistance.

- Help the injured if it is safe to do so.

- Identify product and in all cases wear and use appropriate Personal Protective Equipment.

- Stop the source of the leak/spill if possible.

- Try to prevent the spillage reaching the drains using Spill Kits located at key liquid storage areas.

- If necessary isolate site surface drainage system by covering manhole covers and drains with the seals in the drain kits, which are located in the Grinder Panel Room, Archive Store and on each forklift truck.

- Any liquids running to drains or the main weighbridge MUST be stopped.

- Notify your line manager and the appropriate authorities if required – see Emergency Contact Details above.

- Store and dispose of waste arising as a result of the spill response correctly and in accordance with legal controls.

- Do not enter tanks or confined spaces unless trained in correct procedures and not before all procedures have been satisfied.

Any incident or near miss including those involving a contractor must be reported to the Operations Manager.

SECONDARY ACTIONS - Follow appropriate procedures for type of accident as described in the following tables.

| Accident Type | Anticipated Consequences | Action to be taken (Prioritised) |
| --- | --- | --- |
| Spillages Overflow or failure of: - Bulk raw material liquid storage tanks - Diesel tank - Bund failure Failure of automatic liquid level control devices Chemical spillage Surface water flooding Off site pollution at risk of entering site Contaminated surface water from fire fighting or other emergency activity. Power Failure – leading to Failure of automatic liquid level controls and shut off valves leading to overflow of storage facilities. Solid food grade raw material/finished product spillage during unloading and internal conveying. | - Soil contamination - Effect on sewage treatment works - Potential effect on human health | - If possible quickly stem the source - Refer to Emergency Spill Procedures to minimise pollution - Use Emergency spill kits and pig matting to contain spillage and prevent further spread. - If the spillage cannot be prevented from entering the surface water drain, then isolate drainage system at isolation point using the inflatable bung. - Contact Operations Manager or deputy. - Refer to COSHH data sheets if appropriate - If necessary contact Environment Agency - Reduce tank contents to a safe level - Make temporary repairs if appropriate - Arrange for the clean up and removal, of all spilled liquid, with an approved waste disposal contractor. - All drains should be jet washed clean before removal of isolation bung. - Dispose of contaminated materials safely - Assess cause and take preventative action - Record incident using NCIR form. |
| Fire - Fuels and oils - Chemicals - Buildings | - Spreading between buildings and stores - Toxic and polluting smoke - Wind dispersion of pollutants - Surface run off from fire fighting water - Surface run off from failed tanks, stores or pipework - Exploding gas and fuel canisters - Dust and fibres from building materials (may contain asbestos). | - Raise alarm on site - Ensure all persons are evacuated from danger area - If safe to do so, isolate power and fuel sources. - Summon fire brigade - Contact Operations Manager or deputy - If necessary contact Environment Agency - Liaise and follow instructions of emergency services making them aware of risks and hazards. Provide copy of Accident Management Plan - Refer to COSHH data sheets if appropriate - Ensure fire fighting water and other liquids cannot cause pollution – as above. - Make temporary repairs if appropriate - Arrange for the clean up and removal, of all spilled liquid, with an approved waste disposal contractor. - Dispose of contaminated materials safely. - Assess cause and take preventative action - Record incident |
| Abatement Failure - Cooler Exhaust - Grinder Exhaust - Local Exhaust Ventilation System | - Dust emissions | - Shut down affected plant immediately - Identify cause of pollution - Make temporary repairs if appropriate - Arrange for the clean up and removal, of all spilled liquid, with an approved waste disposal contractor. - Dispose of contaminated materials safely. - Assess cause and take preventative action - Record incident using NCIR form |

DISTRIBUTION

| NAME | TITLE | LOCATION |
| --- | --- | --- |
| Kevin Singleton | Operations Manager | Exeter |
| Richard Clapp | Maintenance Supervisor | Exeter |
| Phil Burnard | Maintenance Technician | Exeter |
| Allan Dare | Maintenance Technician | Exeter |
| Steve Pitt | Shift Technical Supervisor | Exeter |
| Martin Pile-Rowland | Shift Technical Supervisor | Exeter |
| Giles Simcox | Shift Technical Supervisor | Exeter |
| Hylton Bullough | Shift Technical Supervisor | Exeter |
| David Lloyd | Mill Admin Team Leader | Exeter |
| Tim Bellamy | Production Manager | Exeter |
| Stuart Purse | Transport Team Leader | Exeter/Blandford |
| Steven Read | Business Unit Director | Exeter/Blandford/Portbury |
| Exeter Local Drive | Accident Management Plan | Health & Safety |
| N/A | Accident Management Plan | Exeter Reception |
| N/A | Accident Management Plan | Exeter Control Room |
| N/A | Accident Management Plan | Exeter H&S Notice Boards |
| A copy is also held on the National Drive under: National Operations\Business Recovery |  |  |